{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["材料汇总"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"材料汇总","index":0,"n_rows":60,"n_cols":6,"rows_kept":60,"merged":[[0,0,1,5],[3,0,3,5],[41,0,41,5],[59,1,59,5]],"flags":["formulas_cached_only"]}
["黄石有轨电车项目新建路段路灯外部电源项目工程材料表"]
[]
["序号","材料名称","型号规格（物料描述）","单位"," 数 量","备注"]
["一、政通路路灯变"]
[1,"水泥杆","锥形水泥杆,非预应力,整根杆,12m,190mm","基",2,0]
[2,"水泥杆","锥形水泥杆,非预应力,整根杆,12m,230mm","基",1,0]
[3,"水泥杆基础","12m,无筋式","座",1,0]
[4,"交流避雷器","交流避雷器,AC10kV,17kV,硅橡胶,50kV,不带间隙","台","/","供电公司安装"]
[5,"高压跌落式熔断器","高压熔断器,AC10kV,跌落式,100A","只","/","供电公司安装"]
[6,"故障指示器",null,"只",3]
[7,"电缆爬杆铁附件","不含开关铁附件","套",1,"95.94kg"]
[8,"避雷器绝缘罩","绝缘护罩,避雷器绝缘护罩(3只)","套","/","供电公司安装"]
[9,"熔断器用绝缘保护罩","绝缘护罩,熔断器绝缘护罩(6只)","套","/","供电公司安装"]
[10,"10kV架空绝缘线","架空绝缘导线,AC10kV,JKTRJY,35","千米",0.012]
[11,"10kV架空绝缘线","架空绝缘导线,AC10kV,JKLYJ,70","千米",0.39375000000000004]
[12,"线路柱式瓷绝缘子","线路柱式瓷绝缘子,R5ET105L,125,283,360","只",9]
[13,"三角顶箍","60×6","副",2]
[14,"金具","联结金具-直角挂板,Z-7","只",6]
[15,"金具","联结金具-球头挂环,QP-7","只",6]
[16,"金具","联结金具-碗头挂板,W-7","只",6]
[17,"金具","耐张线夹-楔型绝缘,NXJ-70","只",6]
[18,"金具","接续金具-C型线夹,JC-2","只",12]
[19,"金具","接续金具-绝缘穿刺接地线夹,10kV,240mm2,16mm2","只",9,0]
[20,"电力电缆","电力电缆,AC10kV,YJV,50,3,22,ZC,无阻水","米",15]
[21,"电缆终端","10kV电缆终端,3×50,户外终端,冷缩,铜","副",1]
[21,"电缆终端","10kV电缆终端,3×50,户内终端,冷缩,铜","副",1]
[22,"电缆接线端子","电缆接线端子,铜,50mm2,单孔","个",6]
[23,"标识牌","设备标识牌","块",1,0]
[24,"标识牌","杆号牌","块",3]
[25,"标识牌","相位牌","块",1,0]
[26,"标识牌","警示牌","块",2,0]
[27,"水平接地装置","-40×4","m",80,0]
[28,"水平接地装置","-50×5","m",50,0]
[29,"垂直接地装置","-50×5/6根","根",12,0]
[30,"带电断引流线","接引流线","次",1]
[31,"0.4kV电流互感器","150/5","台",3]
[32,"电缆直埋","单孔∅175","米",5]
[33,"箱变基础",null,"座",1]
[34,"箱变基础（拆除）",null,"项",1]
[35,"箱式变压器（安装）","100kVA","项",1]
[36,"箱式变压器（拆除）","100kVA","项",1]
["二、樊家山路路灯变"]
[1,"交流避雷器","交流避雷器,AC10kV,17kV,硅橡胶,50kV,不带间隙","台","/","供电公司安装"]
[2,"高压跌落式熔断器","高压熔断器,AC10kV,跌落式,100A","只","/","供电公司安装"]
[3,"故障指示器",null,"只",3]
[4,"电缆爬杆铁附件","不含开关铁附件","套",1,"95.94kg"]
[5,"避雷器绝缘罩","绝缘护罩,避雷器绝缘护罩(3只)","套","/","供电公司安装"]
[6,"熔断器用绝缘保护罩","绝缘护罩,熔断器绝缘护罩(6只)","套","/","供电公司安装"]
[7,"标识牌","设备标识牌","块",1,0]
[8,"标识牌","警示牌","块",1,0]
[27,"水平接地装置","-50×5","m",50,0]
[28,"垂直接地装置","-50×5/6根","根",6,0]
[12,"带电断引流线","接引流线","次",1]
[13,"0.4kV电流互感器","150/5","台",3]
[15,"电缆直埋","单孔∅175","米",5]
[16,"箱变基础",null,"座",1]
[17,"箱变基础（拆除）",null,"项",1]
[18,"箱式变压器（安装）","100kVA","项",1]
[19,"箱式变压器（拆除）","100kVA","项",1]
[20,"包括但不限于以上设备材料 "]